## PerformanceData
point_id | dataset | T_evap_C | T_cond_C | freq_Hz | speed_rpm | P_suc_bar | P_dis_bar | m_dot_kg_s | W_el_kW | T_dis_C | data_source
1 | Fitting | -15 | 35 | 30 | 1800 | 1.6394 | 8.8698 | 0.18954 | 9.7338 | 60.4159 | Representative manufacturer-style table; CoolProp R134a properties
2 | Fitting | -15 | 35 | 45 | 2700 | 1.6394 | 8.8698 | 0.28761 | 14.656 | 61.4638 | Representative manufacturer-style table; CoolProp R134a properties
3 | Fitting | -15 | 35 | 60 | 3600 | 1.6394 | 8.8698 | 0.39209 | 19.3982 | 58.8515 | Representative manufacturer-style table; CoolProp R134a properties
4 | Fitting | -15 | 45 | 30 | 1800 | 1.6394 | 11.5992 | 0.16173 | 10.6072 | 79.9136 | Representative manufacturer-style table; CoolProp R134a properties
5 | Fitting | -15 | 45 | 45 | 2700 | 1.6394 | 11.5992 | 0.25237 | 16.0967 | 78.7377 | Representative manufacturer-style table; CoolProp R134a properties
6 | Fitting | -15 | 45 | 60 | 3600 | 1.6394 | 11.5992 | 0.33363 | 21.7165 | 78.3861 | Representative manufacturer-style table; CoolProp R134a properties
7 | Fitting | -15 | 55 | 30 | 1800 | 1.6394 | 14.9151 | 0.12855 | 11.4445 | 104.3258 | Representative manufacturer-style table; CoolProp R134a properties
8 | Fitting | -15 | 55 | 45 | 2700 | 1.6394 | 14.9151 | 0.19784 | 17.4598 | 104.3312 | Representative manufacturer-style table; CoolProp R134a properties
9 | Fitting | -15 | 55 | 60 | 3600 | 1.6394 | 14.9151 | 0.26459 | 23.5368 | 104.3128 | Representative manufacturer-style table; CoolProp R134a properties
10 | Fitting | -10 | 35 | 30 | 1800 | 2.006 | 8.8698 | 0.24542 | 10.5807 | 58.0597 | Representative manufacturer-style table; CoolProp R134a properties
11 | Fitting | -10 | 35 | 45 | 2700 | 2.006 | 8.8698 | 0.37004 | 16.0838 | 56.0407 | Representative manufacturer-style table; CoolProp R134a properties
12 | Fitting | -10 | 35 | 60 | 3600 | 2.006 | 8.8698 | 0.49778 | 21.4446 | 56.9156 | Representative manufacturer-style table; CoolProp R134a properties
13 | Fitting | -10 | 45 | 30 | 1800 | 2.006 | 11.5992 | 0.22241 | 11.8037 | 70.3453 | Representative manufacturer-style table; CoolProp R134a properties
14 | Fitting | -10 | 45 | 45 | 2700 | 2.006 | 11.5992 | 0.33639 | 18.1751 | 71.1043 | Representative manufacturer-style table; CoolProp R134a properties
15 | Fitting | -10 | 45 | 60 | 3600 | 2.006 | 11.5992 | 0.4437 | 24.0162 | 69.9715 | Representative manufacturer-style table; CoolProp R134a properties
16 | Fitting | -10 | 55 | 30 | 1800 | 2.006 | 14.9151 | 0.18917 | 13.314 | 89.6311 | Representative manufacturer-style table; CoolProp R134a properties
17 | Fitting | -10 | 55 | 45 | 2700 | 2.006 | 14.9151 | 0.2878 | 20.1389 | 89.8982 | Representative manufacturer-style table; CoolProp R134a properties
18 | Fitting | -10 | 55 | 60 | 3600 | 2.006 | 14.9151 | 0.38487 | 26.8186 | 87.319 | Representative manufacturer-style table; CoolProp R134a properties
19 | Fitting | -5 | 35 | 30 | 1800 | 2.4334 | 8.8698 | 0.30908 | 11.4703 | 54.7475 | Representative manufacturer-style table; CoolProp R134a properties
20 | Fitting | -5 | 35 | 45 | 2700 | 2.4334 | 8.8698 | 0.47035 | 17.3385 | 53.1204 | Representative manufacturer-style table; CoolProp R134a properties
21 | Fitting | -5 | 35 | 60 | 3600 | 2.4334 | 8.8698 | 0.63607 | 23.2322 | 53.5351 | Representative manufacturer-style table; CoolProp R134a properties
22 | Fitting | -5 | 45 | 30 | 1800 | 2.4334 | 11.5992 | 0.2913 | 13.2159 | 67.4794 | Representative manufacturer-style table; CoolProp R134a properties
23 | Fitting | -5 | 45 | 45 | 2700 | 2.4334 | 11.5992 | 0.43692 | 20.2952 | 65.7995 | Representative manufacturer-style table; CoolProp R134a properties
24 | Fitting | -5 | 45 | 60 | 3600 | 2.4334 | 11.5992 | 0.58668 | 27.1646 | 65.7702 | Representative manufacturer-style table; CoolProp R134a properties
25 | Fitting | -5 | 55 | 30 | 1800 | 2.4334 | 14.9151 | 0.25911 | 14.8019 | 82.2101 | Representative manufacturer-style table; CoolProp R134a properties
26 | Fitting | -5 | 55 | 45 | 2700 | 2.4334 | 14.9151 | 0.39586 | 22.8452 | 81.2615 | Representative manufacturer-style table; CoolProp R134a properties
27 | Fitting | -5 | 55 | 60 | 3600 | 2.4334 | 14.9151 | 0.52887 | 30.0691 | 83.1338 | Representative manufacturer-style table; CoolProp R134a properties
28 | Fitting | 0 | 35 | 30 | 1800 | 2.928 | 8.8698 | 0.38644 | 11.987 | 49.9413 | Representative manufacturer-style table; CoolProp R134a properties
29 | Fitting | 0 | 35 | 45 | 2700 | 2.928 | 8.8698 | 0.58762 | 17.8414 | 49.3649 | Representative manufacturer-style table; CoolProp R134a properties
30 | Fitting | 0 | 35 | 60 | 3600 | 2.928 | 8.8698 | 0.77382 | 24.3857 | 50.8856 | Representative manufacturer-style table; CoolProp R134a properties
31 | Fitting | 0 | 45 | 30 | 1800 | 2.928 | 11.5992 | 0.36494 | 14.5233 | 64.2589 | Representative manufacturer-style table; CoolProp R134a properties
32 | Fitting | 0 | 45 | 45 | 2700 | 2.928 | 11.5992 | 0.55909 | 21.8053 | 62.9963 | Representative manufacturer-style table; CoolProp R134a properties
33 | Fitting | 0 | 45 | 60 | 3600 | 2.928 | 11.5992 | 0.74667 | 29.4925 | 62.6568 | Representative manufacturer-style table; CoolProp R134a properties
34 | Fitting | 0 | 55 | 30 | 1800 | 2.928 | 14.9151 | 0.33914 | 16.4386 | 75.4699 | Representative manufacturer-style table; CoolProp R134a properties
35 | Fitting | 0 | 55 | 45 | 2700 | 2.928 | 14.9151 | 0.51172 | 24.7973 | 76.9214 | Representative manufacturer-style table; CoolProp R134a properties
36 | Fitting | 0 | 55 | 60 | 3600 | 2.928 | 14.9151 | 0.68522 | 33.2993 | 77.4406 | Representative manufacturer-style table; CoolProp R134a properties
37 | Fitting | 5 | 35 | 30 | 1800 | 3.4966 | 8.8698 | 0.4712 | 12.3053 | 48.3576 | Representative manufacturer-style table; CoolProp R134a properties
38 | Fitting | 5 | 35 | 45 | 2700 | 3.4966 | 8.8698 | 0.71837 | 18.4512 | 48.6159 | Representative manufacturer-style table; CoolProp R134a properties
39 | Fitting | 5 | 35 | 60 | 3600 | 3.4966 | 8.8698 | 0.96852 | 24.5074 | 48.8534 | Representative manufacturer-style table; CoolProp R134a properties
40 | Fitting | 5 | 45 | 30 | 1800 | 3.4966 | 11.5992 | 0.45045 | 15.3977 | 62.735 | Representative manufacturer-style table; CoolProp R134a properties
41 | Fitting | 5 | 45 | 45 | 2700 | 3.4966 | 11.5992 | 0.68658 | 23.1417 | 61.5061 | Representative manufacturer-style table; CoolProp R134a properties
42 | Fitting | 5 | 45 | 60 | 3600 | 3.4966 | 11.5992 | 0.92718 | 31.2608 | 60.4433 | Representative manufacturer-style table; CoolProp R134a properties
43 | Fitting | 5 | 55 | 30 | 1800 | 3.4966 | 14.9151 | 0.42641 | 17.7091 | 75.2137 | Representative manufacturer-style table; CoolProp R134a properties
44 | Fitting | 5 | 55 | 45 | 2700 | 3.4966 | 14.9151 | 0.64827 | 26.9061 | 73.7305 | Representative manufacturer-style table; CoolProp R134a properties
45 | Fitting | 5 | 55 | 60 | 3600 | 3.4966 | 14.9151 | 0.86696 | 35.4487 | 71.9047 | Representative manufacturer-style table; CoolProp R134a properties
46 | Fitting | 10 | 35 | 30 | 1800 | 4.1461 | 8.8698 | 0.57176 | 11.8927 | 47.8939 | Representative manufacturer-style table; CoolProp R134a properties
47 | Fitting | 10 | 35 | 45 | 2700 | 4.1461 | 8.8698 | 0.86464 | 17.849 | 46.8915 | Representative manufacturer-style table; CoolProp R134a properties
48 | Fitting | 10 | 35 | 60 | 3600 | 4.1461 | 8.8698 | 1.1722 | 23.8262 | 46.6458 | Representative manufacturer-style table; CoolProp R134a properties
49 | Fitting | 10 | 45 | 30 | 1800 | 4.1461 | 11.5992 | 0.548 | 15.8819 | 60.2295 | Representative manufacturer-style table; CoolProp R134a properties
50 | Fitting | 10 | 45 | 45 | 2700 | 4.1461 | 11.5992 | 0.83318 | 23.9429 | 58.759 | Representative manufacturer-style table; CoolProp R134a properties
51 | Fitting | 10 | 45 | 60 | 3600 | 4.1461 | 11.5992 | 1.1166 | 31.947 | 58.1297 | Representative manufacturer-style table; CoolProp R134a properties
52 | Fitting | 10 | 55 | 30 | 1800 | 4.1461 | 14.9151 | 0.5221 | 18.8185 | 72.6827 | Representative manufacturer-style table; CoolProp R134a properties
53 | Fitting | 10 | 55 | 45 | 2700 | 4.1461 | 14.9151 | 0.79756 | 28.6046 | 70.5669 | Representative manufacturer-style table; CoolProp R134a properties
54 | Fitting | 10 | 55 | 60 | 3600 | 4.1461 | 14.9151 | 1.0761 | 38.3269 | 70.9437 | Representative manufacturer-style table; CoolProp R134a properties
55 | Validation | -15 | 35 | 75 | 4500 | 1.6394 | 8.8698 | 0.48469 | 24.7166 | 61.3265 | Representative manufacturer-style table; CoolProp R134a properties
56 | Validation | -15 | 45 | 75 | 4500 | 1.6394 | 11.5992 | 0.41613 | 27.2487 | 78.2079 | Representative manufacturer-style table; CoolProp R134a properties
57 | Validation | -15 | 55 | 75 | 4500 | 1.6394 | 14.9151 | 0.32766 | 29.3141 | 104.2175 | Representative manufacturer-style table; CoolProp R134a properties
58 | Validation | -10 | 35 | 75 | 4500 | 2.006 | 8.8698 | 0.62484 | 27.3201 | 56.2946 | Representative manufacturer-style table; CoolProp R134a properties
59 | Validation | -10 | 45 | 75 | 4500 | 2.006 | 11.5992 | 0.56278 | 30.5081 | 70.6982 | Representative manufacturer-style table; CoolProp R134a properties
60 | Validation | -10 | 55 | 75 | 4500 | 2.006 | 14.9151 | 0.48871 | 33.6365 | 90.8878 | Representative manufacturer-style table; CoolProp R134a properties
61 | Validation | -5 | 35 | 75 | 4500 | 2.4334 | 8.8698 | 0.79795 | 28.8523 | 52.9645 | Representative manufacturer-style table; CoolProp R134a properties
62 | Validation | -5 | 45 | 75 | 4500 | 2.4334 | 11.5992 | 0.73906 | 33.4463 | 67.821 | Representative manufacturer-style table; CoolProp R134a properties
63 | Validation | -5 | 55 | 75 | 4500 | 2.4334 | 14.9151 | 0.65564 | 37.6067 | 81.5735 | Representative manufacturer-style table; CoolProp R134a properties
64 | Validation | 0 | 35 | 75 | 4500 | 2.928 | 8.8698 | 0.98795 | 30.5207 | 49.6379 | Representative manufacturer-style table; CoolProp R134a properties
65 | Validation | 0 | 45 | 75 | 4500 | 2.928 | 11.5992 | 0.9209 | 35.9189 | 65.9956 | Representative manufacturer-style table; CoolProp R134a properties
66 | Validation | 0 | 55 | 75 | 4500 | 2.928 | 14.9151 | 0.86105 | 41.5176 | 75.3595 | Representative manufacturer-style table; CoolProp R134a properties
67 | Validation | 5 | 35 | 75 | 4500 | 3.4966 | 8.8698 | 1.2065 | 31.1558 | 48.8012 | Representative manufacturer-style table; CoolProp R134a properties
68 | Validation | 5 | 45 | 75 | 4500 | 3.4966 | 11.5992 | 1.1356 | 39.1375 | 60.8381 | Representative manufacturer-style table; CoolProp R134a properties
69 | Validation | 5 | 55 | 75 | 4500 | 3.4966 | 14.9151 | 1.0836 | 44.8333 | 73.0473 | Representative manufacturer-style table; CoolProp R134a properties
70 | Validation | 10 | 35 | 75 | 4500 | 4.1461 | 8.8698 | 1.4542 | 30.0466 | 46.8097 | Representative manufacturer-style table; CoolProp R134a properties
71 | Validation | 10 | 45 | 75 | 4500 | 4.1461 | 11.5992 | 1.3868 | 39.8321 | 59.0541 | Representative manufacturer-style table; CoolProp R134a properties
72 | Validation | 10 | 55 | 75 | 4500 | 4.1461 | 14.9151 | 1.3045 | 48.1263 | 73.1875 | Representative manufacturer-style table; CoolProp R134a properties
73 | Validation | -12 | 40 | 38 | 2280 | 1.8524 | 10.1659 | 0.27012 | 13.8997 | 64.9342 | Representative manufacturer-style table; CoolProp R134a properties
74 | Validation | -12 | 50 | 68 | 4080 | 1.8524 | 13.1791 | 0.42068 | 27.9715 | 83.5614 | Representative manufacturer-style table; CoolProp R134a properties
75 | Validation | -7 | 40 | 68 | 4080 | 2.2548 | 10.1659 | 0.63006 | 28.0136 | 61.7311 | Representative manufacturer-style table; CoolProp R134a properties
76 | Validation | -7 | 50 | 38 | 2280 | 2.2548 | 13.1791 | 0.31289 | 17.159 | 77.313 | Representative manufacturer-style table; CoolProp R134a properties
77 | Validation | -2 | 40 | 38 | 2280 | 2.7217 | 10.1659 | 0.43905 | 16.6456 | 55.893 | Representative manufacturer-style table; CoolProp R134a properties
78 | Validation | -2 | 50 | 68 | 4080 | 2.7217 | 13.1791 | 0.74093 | 34.7516 | 73.0775 | Representative manufacturer-style table; CoolProp R134a properties
79 | Validation | 3 | 40 | 68 | 4080 | 3.2598 | 10.1659 | 0.98194 | 31.5474 | 54.8543 | Representative manufacturer-style table; CoolProp R134a properties
80 | Validation | 3 | 50 | 38 | 2280 | 3.2598 | 13.1791 | 0.51508 | 20.8045 | 68.3541 | Representative manufacturer-style table; CoolProp R134a properties
81 | Validation | 8 | 40 | 38 | 2280 | 3.8761 | 10.1659 | 0.66431 | 17.6068 | 52.8199 | Representative manufacturer-style table; CoolProp R134a properties
82 | Validation | 8 | 50 | 68 | 4080 | 3.8761 | 13.1791 | 1.1346 | 39.2161 | 67.179 | Representative manufacturer-style table; CoolProp R134a properties
83 | Validation | -12 | 40 | 68 | 4080 | 1.8524 | 10.1659 | 0.49023 | 25.219 | 65.3644 | Representative manufacturer-style table; CoolProp R134a properties
84 | Validation | 8 | 50 | 38 | 2280 | 3.8761 | 13.1791 | 0.64125 | 21.8793 | 67.8181 | Representative manufacturer-style table; CoolProp R134a properties

## CalculatedVariables
point_id | dataset | T_evap_C | T_cond_C | freq_Hz | speed_rpm | P_suc_bar | P_dis_bar | m_dot_kg_s | W_el_kW | T_dis_C | data_source | P_suc_Pa | P_dis_Pa | beta | rho_suc | v_suc | h1 | s1 | h2is | eta_v_calc | eta_is_calc | T_dis_from_power_C | fn | eta_v_pred | eta_is_pred | m_dot_pred_kg_s | W_pred_kW | T_dis_pred_C | m_dot_error_pct | W_error_pct | T_dis_error_C
1 | Fitting | -15 | 35 | 30 | 1800 | 1.6394 | 8.8698 | 0.18954 | 9.7338 | 60.4159 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 886980.9836 | 5.4104 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 429840.2191 | 0.68055 | 0.70187 | 61.6105 | 0.6 | 0.6778 | 0.70521 | 0.18877 | 9.6487 | 61.3733 | -0.40313 | -0.87496 | 0.95735
2 | Fitting | -15 | 35 | 45 | 2700 | 1.6394 | 8.8698 | 0.28761 | 14.656 | 61.4638 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 886980.9836 | 5.4104 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 429840.2191 | 0.68845 | 0.70734 | 61.2233 | 0.9 | 0.68754 | 0.70822 | 0.28723 | 14.6184 | 61.1613 | -0.13204 | -0.25678 | -0.30253
3 | Fitting | -15 | 35 | 60 | 3600 | 1.6394 | 8.8698 | 0.39209 | 19.3982 | 58.8515 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 886980.9836 | 5.4104 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 429840.2191 | 0.70391 | 0.72856 | 59.777 | 1.2 | 0.69124 | 0.7095 | 0.38503 | 19.5609 | 61.0721 | -1.7994 | 0.83881 | 2.2206
4 | Fitting | -15 | 45 | 30 | 1800 | 1.6394 | 11.5992 | 0.16173 | 10.6072 | 79.9136 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1159924.2383 | 7.0753 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 435737.7072 | 0.5807 | 0.63951 | 79.3047 | 0.6 | 0.58521 | 0.64051 | 0.16298 | 10.6727 | 79.2083 | 0.77611 | 0.61835 | -0.70535
5 | Fitting | -15 | 45 | 45 | 2700 | 1.6394 | 11.5992 | 0.25237 | 16.0967 | 78.7377 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1159924.2383 | 7.0753 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 435737.7072 | 0.60409 | 0.65758 | 77.6135 | 0.9 | 0.59397 | 0.64202 | 0.24814 | 16.2107 | 79.0637 | -1.6748 | 0.70799 | 0.32599
6 | Fitting | -15 | 45 | 60 | 3600 | 1.6394 | 11.5992 | 0.33363 | 21.7165 | 78.3861 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1159924.2383 | 7.0753 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 435737.7072 | 0.59897 | 0.64437 | 78.8402 | 1.2 | 0.59671 | 0.64179 | 0.33237 | 21.7215 | 79.0856 | -0.37719 | 0.022968 | 0.69949
7 | Fitting | -15 | 55 | 30 | 1800 | 1.6394 | 14.9151 | 0.12855 | 11.4445 | 104.3258 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1491514.0867 | 9.0979 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 441233.2473 | 0.46157 | 0.53284 | 105.0143 | 0.6 | 0.46377 | 0.53428 | 0.12916 | 11.4683 | 104.7974 | 0.4778 | 0.20833 | 0.4716
8 | Fitting | -15 | 55 | 45 | 2700 | 1.6394 | 14.9151 | 0.19784 | 17.4598 | 104.3312 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1491514.0867 | 9.0979 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 441233.2473 | 0.47358 | 0.53753 | 104.3087 | 0.9 | 0.47136 | 0.53396 | 0.19691 | 17.4944 | 104.8452 | -0.46818 | 0.19782 | 0.51408
9 | Fitting | -15 | 55 | 60 | 3600 | 1.6394 | 14.9151 | 0.26459 | 23.5368 | 104.3128 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1491514.0867 | 9.0979 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 441233.2473 | 0.47501 | 0.53328 | 104.9487 | 1.2 | 0.47292 | 0.5319 | 0.26342 | 23.4934 | 105.1572 | -0.44142 | -0.1846 | 0.84436
10 | Fitting | -10 | 35 | 30 | 1800 | 2.006 | 8.8698 | 0.24542 | 10.5807 | 58.0597 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 886980.9836 | 4.4216 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 428662.1286 | 0.7275 | 0.73609 | 56.6367 | 0.6 | 0.72965 | 0.73392 | 0.24614 | 10.6435 | 56.7607 | 0.29618 | 0.59326 | -1.299
11 | Fitting | -10 | 35 | 45 | 2700 | 2.006 | 8.8698 | 0.37004 | 16.0838 | 56.0407 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 886980.9836 | 4.4216 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 428662.1286 | 0.73129 | 0.73014 | 56.9779 | 0.9 | 0.73996 | 0.73782 | 0.37443 | 16.1051 | 56.5384 | 1.186 | 0.13234 | 0.49778
12 | Fitting | -10 | 35 | 60 | 3600 | 2.006 | 8.8698 | 0.49778 | 21.4446 | 56.9156 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 886980.9836 | 4.4216 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 428662.1286 | 0.7378 | 0.73666 | 56.6045 | 1.2 | 0.74424 | 0.73999 | 0.50213 | 21.5343 | 56.4161 | 0.87299 | 0.41854 | -0.49947
13 | Fitting | -10 | 45 | 30 | 1800 | 2.006 | 11.5992 | 0.22241 | 11.8037 | 70.3453 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1159924.2383 | 5.7822 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 434520.3758 | 0.6593 | 0.70836 | 70.5302 | 0.6 | 0.6577 | 0.69254 | 0.22187 | 12.044 | 71.6589 | -0.24279 | 2.0357 | 1.3136
14 | Fitting | -10 | 45 | 45 | 2700 | 2.006 | 11.5992 | 0.33639 | 18.1751 | 71.1043 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1159924.2383 | 5.7822 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 434520.3758 | 0.66478 | 0.69579 | 71.4228 | 0.9 | 0.66722 | 0.69522 | 0.33762 | 18.2568 | 71.4641 | 0.36718 | 0.44957 | 0.35984
15 | Fitting | -10 | 45 | 60 | 3600 | 2.006 | 11.5992 | 0.4437 | 24.0162 | 69.9715 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1159924.2383 | 5.7822 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 434520.3758 | 0.65764 | 0.69454 | 71.5134 | 1.2 | 0.67071 | 0.69616 | 0.45252 | 24.4366 | 71.3962 | 1.9877 | 1.7507 | 1.4247
16 | Fitting | -10 | 55 | 30 | 1800 | 2.006 | 14.9151 | 0.18917 | 13.314 | 89.6311 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1491514.0867 | 7.4351 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 439976.7462 | 0.56078 | 0.61168 | 90.9681 | 0.6 | 0.56432 | 0.62383 | 0.19037 | 13.1374 | 89.7361 | 0.63235 | -1.3266 | 0.105
17 | Fitting | -10 | 55 | 45 | 2700 | 2.006 | 14.9151 | 0.2878 | 20.1389 | 89.8982 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1491514.0867 | 7.4351 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 439976.7462 | 0.56875 | 0.61521 | 90.6046 | 0.9 | 0.57288 | 0.62501 | 0.28989 | 19.9669 | 89.6186 | 0.72485 | -0.85394 | -0.27962
18 | Fitting | -10 | 55 | 60 | 3600 | 2.006 | 14.9151 | 0.38487 | 26.8186 | 87.319 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1491514.0867 | 7.4351 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 439976.7462 | 0.57044 | 0.6178 | 90.341 | 1.2 | 0.5754 | 0.62446 | 0.38822 | 26.7636 | 89.6735 | 0.87016 | -0.20491 | 2.3545
19 | Fitting | -5 | 35 | 30 | 1800 | 2.4334 | 8.8698 | 0.30908 | 11.4703 | 54.7475 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 886980.9836 | 3.645 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 427628.6512 | 0.76209 | 0.74394 | 53.8179 | 0.6 | 0.76872 | 0.75138 | 0.31177 | 11.4555 | 53.4623 | 0.87039 | -0.12912 | -1.2853
20 | Fitting | -5 | 35 | 45 | 2700 | 2.4334 | 8.8698 | 0.47035 | 17.3385 | 53.1204 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 886980.9836 | 3.645 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 427628.6512 | 0.77315 | 0.74894 | 53.5781 | 0.9 | 0.77948 | 0.75599 | 0.4742 | 17.3176 | 53.2458 | 0.81967 | -0.12031 | 0.12547
21 | Fitting | -5 | 35 | 60 | 3600 | 2.4334 | 8.8698 | 0.63607 | 23.2322 | 53.5351 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 886980.9836 | 3.645 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 427628.6512 | 0.78416 | 0.75588 | 53.2511 | 1.2 | 0.78421 | 0.75886 | 0.63611 | 23.1424 | 53.1124 | 0.0062781 | -0.38653 | -0.42267
22 | Fitting | -5 | 45 | 30 | 1800 | 2.4334 | 11.5992 | 0.2913 | 13.2159 | 67.4794 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1159924.2383 | 4.7666 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 433452.2801 | 0.71825 | 0.7369 | 66.2565 | 0.6 | 0.71182 | 0.72472 | 0.2887 | 13.3177 | 66.9609 | -0.89465 | 0.77018 | -0.51841
23 | Fitting | -5 | 45 | 45 | 2700 | 2.4334 | 11.5992 | 0.43692 | 20.2952 | 65.7995 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1159924.2383 | 4.7666 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 433452.2801 | 0.7182 | 0.71973 | 67.2569 | 0.9 | 0.72193 | 0.72832 | 0.43919 | 20.1602 | 66.7504 | 0.51951 | -0.66538 | 0.95091
24 | Fitting | -5 | 45 | 60 | 3600 | 2.4334 | 11.5992 | 0.58668 | 27.1646 | 65.7702 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1159924.2383 | 4.7666 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 433452.2801 | 0.72328 | 0.72204 | 67.1197 | 1.2 | 0.72601 | 0.73017 | 0.5889 | 26.9634 | 66.6425 | 0.37782 | -0.74067 | 0.8723
25 | Fitting | -5 | 55 | 30 | 1800 | 2.4334 | 14.9151 | 0.25911 | 14.8019 | 82.2101 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1491514.0867 | 6.1293 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 438874.0722 | 0.63889 | 0.68015 | 81.8829 | 0.6 | 0.63864 | 0.67979 | 0.25901 | 14.8039 | 81.9096 | -0.038767 | 0.013957 | -0.30048
26 | Fitting | -5 | 55 | 45 | 2700 | 2.4334 | 14.9151 | 0.39586 | 22.8452 | 81.2615 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1491514.0867 | 6.1293 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 438874.0722 | 0.6507 | 0.67325 | 82.4026 | 0.9 | 0.64795 | 0.68216 | 0.39419 | 22.4517 | 81.7339 | -0.4224 | -1.7224 | 0.47244
27 | Fitting | -5 | 55 | 60 | 3600 | 2.4334 | 14.9151 | 0.52887 | 30.0691 | 83.1338 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1491514.0867 | 6.1293 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 438874.0722 | 0.65201 | 0.68338 | 81.6437 | 1.2 | 0.65124 | 0.68278 | 0.52825 | 30.0598 | 81.6876 | -0.11784 | -0.030719 | -1.4461
28 | Fitting | 0 | 35 | 30 | 1800 | 2.928 | 8.8698 | 0.38644 | 11.987 | 49.9413 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 886980.9836 | 3.0293 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 426721.9257 | 0.79799 | 0.76248 | 50.8825 | 0.6 | 0.79867 | 0.76205 | 0.38677 | 12.0041 | 50.8994 | 0.085723 | 0.14241 | 0.95812
29 | Fitting | 0 | 35 | 45 | 2700 | 2.928 | 8.8698 | 0.58762 | 17.8414 | 49.3649 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 886980.9836 | 3.0293 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 426721.9257 | 0.80894 | 0.77898 | 50.2507 | 0.9 | 0.80979 | 0.76722 | 0.58824 | 18.1339 | 50.6984 | 0.10476 | 1.6394 | 1.3334
30 | Fitting | 0 | 35 | 60 | 3600 | 2.928 | 8.8698 | 0.77382 | 24.3857 | 50.8856 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 886980.9836 | 3.0293 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 426721.9257 | 0.79896 | 0.75052 | 51.3584 | 1.2 | 0.81488 | 0.77064 | 0.78924 | 24.2223 | 50.5666 | 1.9924 | -0.66977 | -0.31901
31 | Fitting | 0 | 45 | 30 | 1800 | 2.928 | 11.5992 | 0.36494 | 14.5233 | 64.2589 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1159924.2383 | 3.9614 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 432515.0301 | 0.7536 | 0.73989 | 63.932 | 0.6 | 0.75298 | 0.7448 | 0.36464 | 14.4155 | 63.6906 | -0.082191 | -0.74182 | -0.56832
32 | Fitting | 0 | 45 | 45 | 2700 | 2.928 | 11.5992 | 0.55909 | 21.8053 | 62.9963 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1159924.2383 | 3.9614 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 432515.0301 | 0.76967 | 0.75496 | 63.2022 | 0.9 | 0.76355 | 0.74912 | 0.55465 | 21.8005 | 63.4811 | -0.7946 | -0.021745 | 0.48482
33 | Fitting | 0 | 45 | 60 | 3600 | 2.928 | 11.5992 | 0.74667 | 29.4925 | 62.6568 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1159924.2383 | 3.9614 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 432515.0301 | 0.77092 | 0.74545 | 63.659 | 1.2 | 0.7681 | 0.75171 | 0.74393 | 29.1399 | 63.3571 | -0.36634 | -1.1956 | 0.70035
34 | Fitting | 0 | 55 | 30 | 1800 | 2.928 | 14.9151 | 0.33914 | 16.4386 | 75.4699 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1491514.0867 | 5.0939 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 437906.3151 | 0.70031 | 0.71868 | 76.9401 | 0.6 | 0.69465 | 0.71519 | 0.3364 | 16.3856 | 77.1479 | -0.80756 | -0.3225 | 1.678
35 | Fitting | 0 | 55 | 45 | 2700 | 2.928 | 14.9151 | 0.51172 | 24.7973 | 76.9214 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1491514.0867 | 5.0939 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 437906.3151 | 0.70445 | 0.71887 | 76.9289 | 0.9 | 0.70457 | 0.71849 | 0.5118 | 24.8148 | 76.9518 | 0.016588 | 0.070606 | 0.030417
36 | Fitting | 0 | 55 | 60 | 3600 | 2.928 | 14.9151 | 0.68522 | 33.2993 | 77.4406 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1491514.0867 | 5.0939 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 437906.3151 | 0.70747 | 0.71683 | 77.0497 | 1.2 | 0.70846 | 0.72005 | 0.68617 | 33.1968 | 76.8597 | 0.13885 | -0.30767 | -0.58084
37 | Fitting | 5 | 35 | 30 | 1800 | 3.4966 | 8.8698 | 0.4712 | 12.3053 | 48.3576 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 886980.9836 | 2.5367 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 425925.3562 | 0.82003 | 0.76029 | 49.053 | 0.6 | 0.82198 | 0.76857 | 0.47232 | 12.2017 | 48.7835 | 0.23756 | -0.84178 | 0.42584
38 | Fitting | 5 | 35 | 45 | 2700 | 3.4966 | 8.8698 | 0.71837 | 18.4512 | 48.6159 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 886980.9836 | 2.5367 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 425925.3562 | 0.83345 | 0.77301 | 48.6412 | 0.9 | 0.83338 | 0.77417 | 0.71832 | 18.4221 | 48.6042 | -0.007647 | -0.15797 | -0.011757
39 | Fitting | 5 | 35 | 60 | 3600 | 3.4966 | 8.8698 | 0.96852 | 24.5074 | 48.8534 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 886980.9836 | 2.5367 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 425925.3562 | 0.84275 | 0.78464 | 48.2765 | 1.2 | 0.83876 | 0.77804 | 0.96393 | 24.5982 | 48.482 | -0.47358 | 0.37075 | -0.37142
40 | Fitting | 5 | 45 | 30 | 1800 | 3.4966 | 11.5992 | 0.45045 | 15.3977 | 62.735 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1159924.2383 | 3.3173 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 431691.5255 | 0.78391 | 0.74952 | 61.5372 | 0.6 | 0.78478 | 0.75741 | 0.45095 | 15.2541 | 61.212 | 0.1105 | -0.93221 | -1.5229
41 | Fitting | 5 | 45 | 45 | 2700 | 3.4966 | 11.5992 | 0.68658 | 23.1417 | 61.5061 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1159924.2383 | 3.3173 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 431691.5255 | 0.79657 | 0.76013 | 61.1014 | 0.9 | 0.79573 | 0.76231 | 0.68586 | 23.0512 | 61.0135 | -0.10561 | -0.39114 | -0.49266
42 | Fitting | 5 | 45 | 60 | 3600 | 3.4966 | 11.5992 | 0.92718 | 31.2608 | 60.4433 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1159924.2383 | 3.3173 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 431691.5255 | 0.80678 | 0.7599 | 61.1108 | 1.2 | 0.80065 | 0.76548 | 0.92013 | 30.7971 | 60.8867 | -0.76029 | -1.4832 | 0.44346
43 | Fitting | 5 | 55 | 30 | 1800 | 3.4966 | 14.9151 | 0.42641 | 17.7091 | 75.2137 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1491514.0867 | 4.2656 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 437055.8765 | 0.74208 | 0.74608 | 73.503 | 0.6 | 0.73761 | 0.73778 | 0.42385 | 17.8006 | 73.9086 | -0.60223 | 0.51638 | -1.305
44 | Fitting | 5 | 55 | 45 | 2700 | 3.4966 | 14.9151 | 0.64827 | 26.9061 | 73.7305 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1491514.0867 | 4.2656 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 437055.8765 | 0.75212 | 0.74655 | 73.4805 | 0.9 | 0.74801 | 0.74183 | 0.64473 | 26.9295 | 73.7097 | -0.54603 | 0.087006 | -0.020777
45 | Fitting | 5 | 55 | 60 | 3600 | 3.4966 | 14.9151 | 0.86696 | 35.4487 | 71.9047 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1491514.0867 | 4.2656 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 437055.8765 | 0.75438 | 0.7578 | 72.9469 | 1.2 | 0.75238 | 0.74414 | 0.86466 | 36.0037 | 73.5973 | -0.26514 | 1.5656 | 1.6926
46 | Fitting | 10 | 35 | 30 | 1800 | 4.1461 | 8.8698 | 0.57176 | 11.8927 | 47.8939 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 886980.9836 | 2.1393 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 425223.342 | 0.8434 | 0.77925 | 46.7861 | 0.6 | 0.84036 | 0.77251 | 0.56969 | 11.9532 | 46.9592 | -0.36112 | 0.50819 | -0.93468
47 | Fitting | 10 | 35 | 45 | 2700 | 4.1461 | 8.8698 | 0.86464 | 17.849 | 46.8915 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 886980.9836 | 2.1393 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 425223.342 | 0.85029 | 0.78518 | 46.6364 | 0.9 | 0.85199 | 0.77848 | 0.86637 | 18.0386 | 46.8058 | 0.20038 | 1.0624 | -0.085739
48 | Fitting | 10 | 35 | 60 | 3600 | 4.1461 | 8.8698 | 1.1722 | 23.8262 | 46.6458 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 886980.9836 | 2.1393 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 425223.342 | 0.86457 | 0.79744 | 46.3338 | 1.2 | 0.8576 | 0.78271 | 1.1628 | 24.079 | 46.6985 | -0.80651 | 1.0607 | 0.052707
49 | Fitting | 10 | 45 | 30 | 1800 | 4.1461 | 11.5992 | 0.548 | 15.8819 | 60.2295 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1159924.2383 | 2.7976 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 430965.6801 | 0.80836 | 0.75742 | 59.4804 | 0.6 | 0.80971 | 0.76534 | 0.54892 | 15.7436 | 59.208 | 0.16652 | -0.87035 | -1.0215
50 | Fitting | 10 | 45 | 45 | 2700 | 4.1461 | 11.5992 | 0.83318 | 23.9429 | 58.759 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1159924.2383 | 2.7976 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 430965.6801 | 0.81935 | 0.76386 | 59.2585 | 0.9 | 0.82096 | 0.77071 | 0.83482 | 23.7767 | 59.0266 | 0.1967 | -0.69415 | 0.26765
51 | Fitting | 10 | 45 | 60 | 3600 | 4.1461 | 11.5992 | 1.1166 | 31.947 | 58.1297 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1159924.2383 | 2.7976 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 430965.6801 | 0.82354 | 0.76722 | 59.1444 | 1.2 | 0.82618 | 0.77435 | 1.1202 | 31.7542 | 58.9054 | 0.32021 | -0.60342 | 0.7757
52 | Fitting | 10 | 55 | 30 | 1800 | 4.1461 | 14.9151 | 0.5221 | 18.8185 | 72.6827 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1491514.0867 | 3.5974 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 436306.1897 | 0.77015 | 0.75718 | 71.3065 | 0.6 | 0.77107 | 0.75231 | 0.52272 | 18.9629 | 71.5074 | 0.11901 | 0.76753 | -1.1753
53 | Fitting | 10 | 55 | 45 | 2700 | 4.1461 | 14.9151 | 0.79756 | 28.6046 | 70.5669 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1491514.0867 | 3.5974 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 436306.1897 | 0.78432 | 0.76095 | 71.153 | 0.9 | 0.78186 | 0.75696 | 0.79506 | 28.6651 | 71.3156 | -0.31429 | 0.21149 | 0.74878
54 | Fitting | 10 | 55 | 60 | 3600 | 4.1461 | 14.9151 | 1.0761 | 38.3269 | 70.9437 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1491514.0867 | 3.5974 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 436306.1897 | 0.7937 | 0.76628 | 70.9386 | 1.2 | 0.78661 | 0.75987 | 1.0665 | 38.3053 | 71.1968 | -0.89245 | -0.056345 | 0.25308
55 | Validation | -15 | 35 | 75 | 4500 | 1.6394 | 8.8698 | 0.48469 | 24.7166 | 61.3265 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 886980.9836 | 5.4104 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 429840.2191 | 0.69613 | 0.70684 | 61.2583 | 1.5 | 0.68891 | 0.70903 | 0.47967 | 24.3848 | 61.1045 | -1.0366 | -1.3426 | -0.22197
56 | Validation | -15 | 45 | 75 | 4500 | 1.6394 | 11.5992 | 0.41613 | 27.2487 | 78.2079 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1159924.2383 | 7.0753 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 435737.7072 | 0.59766 | 0.64053 | 79.2067 | 1.5 | 0.59341 | 0.63982 | 0.41317 | 27.0849 | 79.2743 | -0.71029 | -0.60119 | 1.0663
57 | Validation | -15 | 55 | 75 | 4500 | 1.6394 | 14.9151 | 0.32766 | 29.3141 | 104.2175 | Representative manufacturer-style table; CoolProp R134a properties | 163940.0843 | 1491514.0867 | 9.0979 | 8.0895 | 0.12362 | 393795.1419 | 1753.0832 | 441233.2473 | 0.4706 | 0.53024 | 105.4108 | 1.5 | 0.46845 | 0.52811 | 0.32616 | 29.298 | 105.7395 | -0.45743 | -0.055012 | 1.522
58 | Validation | -10 | 35 | 75 | 4500 | 2.006 | 8.8698 | 0.62484 | 27.3201 | 56.2946 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 886980.9836 | 4.4216 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 428662.1286 | 0.74089 | 0.72582 | 57.2291 | 1.5 | 0.74248 | 0.74042 | 0.62618 | 26.839 | 56.392 | 0.21493 | -1.7611 | 0.097459
59 | Validation | -10 | 45 | 75 | 4500 | 2.006 | 11.5992 | 0.56278 | 30.5081 | 70.6982 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1159924.2383 | 5.7822 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 434520.3758 | 0.66731 | 0.69348 | 71.5903 | 1.5 | 0.66816 | 0.69536 | 0.5635 | 30.4649 | 71.454 | 0.12862 | -0.14155 | 0.7558
60 | Validation | -10 | 55 | 75 | 4500 | 2.006 | 14.9151 | 0.48871 | 33.6365 | 90.8878 | Representative manufacturer-style table; CoolProp R134a properties | 200603.3075 | 1491514.0867 | 7.4351 | 9.7985 | 0.10206 | 396926.8326 | 1749.3947 | 439976.7462 | 0.57948 | 0.62548 | 89.5723 | 1.5 | 0.5719 | 0.62217 | 0.48232 | 33.3733 | 89.9017 | -1.3082 | -0.78262 | -0.98604
61 | Validation | -5 | 35 | 75 | 4500 | 2.4334 | 8.8698 | 0.79795 | 28.8523 | 52.9645 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 886980.9836 | 3.645 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 427628.6512 | 0.78698 | 0.76354 | 52.897 | 1.5 | 0.78291 | 0.75999 | 0.79382 | 28.8371 | 53.0602 | -0.5173 | -0.052503 | 0.095678
62 | Validation | -5 | 45 | 75 | 4500 | 2.4334 | 11.5992 | 0.73906 | 33.4463 | 67.821 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1159924.2383 | 4.7666 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 433452.2801 | 0.7289 | 0.73874 | 66.152 | 1.5 | 0.72406 | 0.73029 | 0.73414 | 33.6082 | 66.6357 | -0.66513 | 0.48395 | -1.1853
63 | Validation | -5 | 55 | 75 | 4500 | 2.4334 | 14.9151 | 0.65564 | 37.6067 | 81.5735 | Representative manufacturer-style table; CoolProp R134a properties | 243342.3699 | 1491514.0867 | 6.1293 | 11.7802 | 0.084888 | 400020.527 | 1746.1483 | 438874.0722 | 0.64664 | 0.67738 | 82.0902 | 1.5 | 0.64849 | 0.68167 | 0.65753 | 37.4775 | 81.7701 | 0.28732 | -0.34349 | 0.19654
64 | Validation | 0 | 35 | 75 | 4500 | 2.928 | 8.8698 | 0.98795 | 30.5207 | 49.6379 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 886980.9836 | 3.0293 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 426721.9257 | 0.81603 | 0.76559 | 50.7612 | 1.5 | 0.81394 | 0.77233 | 0.98541 | 30.1769 | 50.5021 | -0.25698 | -1.1264 | 0.86423
65 | Validation | 0 | 45 | 75 | 4500 | 2.928 | 11.5992 | 0.9209 | 35.9189 | 65.9956 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1159924.2383 | 3.9614 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 432515.0301 | 0.76065 | 0.75491 | 63.2047 | 1.5 | 0.76661 | 0.75255 | 0.92812 | 36.3137 | 63.3168 | 0.78384 | 1.0994 | -2.6788
66 | Validation | 0 | 55 | 75 | 4500 | 2.928 | 14.9151 | 0.86105 | 41.5176 | 75.3595 | Representative manufacturer-style table; CoolProp R134a properties | 292803.1823 | 1491514.0867 | 5.0939 | 14.066 | 0.071093 | 403070.4911 | 1743.2919 | 437906.3151 | 0.71122 | 0.72247 | 76.7172 | 1.5 | 0.70631 | 0.71987 | 0.85512 | 41.3808 | 76.8702 | -0.68936 | -0.32967 | 1.5107
67 | Validation | 5 | 35 | 75 | 4500 | 3.4966 | 8.8698 | 1.2065 | 31.1558 | 48.8012 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 886980.9836 | 2.5367 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 425925.3562 | 0.83987 | 0.76888 | 48.7734 | 1.5 | 0.8381 | 0.78017 | 1.204 | 30.6398 | 48.4152 | -0.21105 | -1.656 | -0.38592
68 | Validation | 5 | 45 | 75 | 4500 | 3.4966 | 11.5992 | 1.1356 | 39.1375 | 60.8381 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1159924.2383 | 3.3173 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 431691.5255 | 0.79051 | 0.74341 | 61.7942 | 1.5 | 0.79954 | 0.7669 | 1.1486 | 38.3716 | 60.8299 | 1.1419 | -1.9569 | -0.0081765
69 | Validation | 5 | 55 | 75 | 4500 | 3.4966 | 14.9151 | 1.0836 | 44.8333 | 73.0473 | Representative manufacturer-style table; CoolProp R134a properties | 349658.6079 | 1491514.0867 | 4.2656 | 16.6903 | 0.059915 | 406070.704 | 1740.776 | 437055.8765 | 0.75434 | 0.74893 | 73.3661 | 1.5 | 0.75072 | 0.74471 | 1.0784 | 44.8709 | 73.5697 | -0.48059 | 0.083966 | 0.52234
70 | Validation | 10 | 35 | 75 | 4500 | 4.1461 | 8.8698 | 1.4542 | 30.0466 | 46.8097 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 886980.9836 | 2.1393 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 425223.342 | 0.85801 | 0.78444 | 46.6548 | 1.5 | 0.85717 | 0.7852 | 1.4527 | 29.9884 | 46.6359 | -0.097666 | -0.19353 | -0.17385
71 | Validation | 10 | 45 | 75 | 4500 | 4.1461 | 11.5992 | 1.3868 | 39.8321 | 59.0541 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1159924.2383 | 2.7976 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 430965.6801 | 0.81827 | 0.76425 | 59.2453 | 1.5 | 0.82537 | 0.77624 | 1.3988 | 39.5572 | 58.8427 | 0.86836 | -0.69031 | -0.21144
72 | Validation | 10 | 55 | 75 | 4500 | 4.1461 | 14.9151 | 1.3045 | 48.1263 | 73.1875 | Representative manufacturer-style table; CoolProp R134a properties | 414607.4674 | 1491514.0867 | 3.5974 | 19.6908 | 0.050785 | 409014.7556 | 1738.5539 | 436306.1897 | 0.76972 | 0.73977 | 72.0373 | 1.5 | 0.78534 | 0.76104 | 1.331 | 47.7305 | 71.1492 | 2.0296 | -0.82252 | -2.0383
73 | Validation | -12 | 40 | 38 | 2280 | 1.8524 | 10.1659 | 0.27012 | 13.8997 | 64.9342 | Representative manufacturer-style table; CoolProp R134a properties | 185244.1558 | 1016593.0221 | 5.4879 | 9.0838 | 0.11009 | 395678.4023 | 1750.814 | 432102.9033 | 0.68189 | 0.70786 | 65.6034 | 0.76 | 0.67956 | 0.70444 | 0.2692 | 13.9195 | 65.8416 | -0.34175 | 0.14241 | 0.90744
74 | Validation | -12 | 50 | 68 | 4080 | 1.8524 | 13.1791 | 0.42068 | 27.9715 | 83.5614 | Representative manufacturer-style table; CoolProp R134a properties | 185244.1558 | 1317905.49 | 7.1144 | 9.0838 | 0.11009 | 395678.4023 | 1750.814 | 437773.2386 | 0.59344 | 0.63309 | 84.0412 | 1.36 | 0.59339 | 0.6391 | 0.42064 | 27.7057 | 83.4667 | -0.0095968 | -0.95049 | -0.094654
75 | Validation | -7 | 40 | 68 | 4080 | 2.2548 | 10.1659 | 0.63006 | 28.0136 | 61.7311 | Representative manufacturer-style table; CoolProp R134a properties | 225476.922 | 1016593.0221 | 4.5086 | 10.9529 | 0.0913 | 398787.9703 | 1747.3973 | 430995.577 | 0.73714 | 0.72439 | 61.91 | 1.36 | 0.73945 | 0.738 | 0.63203 | 27.5831 | 61.1329 | 0.31363 | -1.5366 | -0.5982
76 | Validation | -7 | 50 | 38 | 2280 | 2.2548 | 13.1791 | 0.31289 | 17.159 | 77.313 | Representative manufacturer-style table; CoolProp R134a properties | 225476.922 | 1317905.49 | 5.845 | 10.9529 | 0.0913 | 398787.9703 | 1747.3973 | 436629.575 | 0.65506 | 0.69002 | 76.2342 | 0.76 | 0.66008 | 0.69192 | 0.31528 | 17.2432 | 76.0978 | 0.76682 | 0.49092 | -1.2153
77 | Validation | -2 | 40 | 38 | 2280 | 2.7217 | 10.1659 | 0.43905 | 16.6456 | 55.893 | Representative manufacturer-style table; CoolProp R134a properties | 272169.7749 | 1016593.0221 | 3.7351 | 13.1131 | 0.07626 | 401856.1309 | 1744.3909 | 430024.1361 | 0.76777 | 0.74297 | 58.6179 | 0.76 | 0.77072 | 0.75221 | 0.44074 | 16.5043 | 58.1788 | 0.38414 | -0.84905 | 2.2859
78 | Validation | -2 | 50 | 68 | 4080 | 2.7217 | 13.1791 | 0.74093 | 34.7516 | 73.0775 | Representative manufacturer-style table; CoolProp R134a properties | 272169.7749 | 1317905.49 | 4.8422 | 13.1131 | 0.07626 | 401856.1309 | 1744.3909 | 435626.0815 | 0.72405 | 0.72 | 71.8263 | 1.36 | 0.72166 | 0.72815 | 0.73849 | 34.2495 | 71.3539 | -0.33001 | -1.4448 | -1.7236
79 | Validation | 3 | 40 | 68 | 4080 | 3.2598 | 10.1659 | 0.98194 | 31.5474 | 54.8543 | Representative manufacturer-style table; CoolProp R134a properties | 325984.9315 | 1016593.0221 | 3.1185 | 15.5976 | 0.064112 | 404876.9892 | 1741.7445 | 429171.2539 | 0.80672 | 0.75618 | 56.0181 | 1.36 | 0.81071 | 0.77018 | 0.9868 | 31.1272 | 55.4708 | 0.49465 | -1.3319 | 0.61646
80 | Validation | 3 | 50 | 38 | 2280 | 3.2598 | 13.1791 | 0.51508 | 20.8045 | 68.3541 | Representative manufacturer-style table; CoolProp R134a properties | 325984.9315 | 1317905.49 | 4.0428 | 15.5976 | 0.064112 | 404876.9892 | 1741.7445 | 434744.9221 | 0.75724 | 0.73947 | 68.6939 | 0.76 | 0.75525 | 0.74547 | 0.51372 | 20.5826 | 68.4033 | -0.26277 | -1.0662 | 0.049125
81 | Validation | 8 | 40 | 38 | 2280 | 3.8761 | 10.1659 | 0.66431 | 17.6068 | 52.8199 | Representative manufacturer-style table; CoolProp R134a properties | 387610.9299 | 1016593.0221 | 2.6227 | 18.4429 | 0.054222 | 407844.3042 | 1739.4104 | 428420.7159 | 0.82597 | 0.77635 | 53.5343 | 0.76 | 0.82476 | 0.77072 | 0.66333 | 17.7094 | 53.7148 | -0.14726 | 0.58224 | 0.89485
82 | Validation | 8 | 50 | 68 | 4080 | 3.8761 | 13.1791 | 1.1346 | 39.2161 | 67.179 | Representative manufacturer-style table; CoolProp R134a properties | 387610.9299 | 1317905.49 | 3.4001 | 18.4429 | 0.054222 | 407844.3042 | 1739.4104 | 433969.3931 | 0.7883 | 0.75582 | 66.1492 | 1.36 | 0.79665 | 0.76482 | 1.1466 | 39.1652 | 65.7888 | 1.0591 | -0.12993 | -1.3901
83 | Validation | -12 | 40 | 68 | 4080 | 1.8524 | 10.1659 | 0.49023 | 25.219 | 65.3644 | Representative manufacturer-style table; CoolProp R134a properties | 185244.1558 | 1016593.0221 | 5.4879 | 9.0838 | 0.11009 | 395678.4023 | 1750.814 | 432102.9033 | 0.69156 | 0.70805 | 65.5904 | 1.36 | 0.68647 | 0.70674 | 0.48663 | 25.0803 | 65.6818 | -0.73534 | -0.55023 | 0.31737
84 | Validation | 8 | 50 | 38 | 2280 | 3.8761 | 13.1791 | 0.64125 | 21.8793 | 67.8181 | Representative manufacturer-style table; CoolProp R134a properties | 387610.9299 | 1317905.49 | 3.4001 | 18.4429 | 0.054222 | 407844.3042 | 1739.4104 | 433969.3931 | 0.79729 | 0.76568 | 65.7546 | 0.76 | 0.78731 | 0.75875 | 0.63322 | 21.8026 | 66.0307 | -1.2522 | -0.35018 | -1.7875

## RegressionCoefficients
Term | eta_v_coefficient | eta_is_coefficient
constant | 0.88893 | 0.75263
beta | -0.039473 | 0.0092018
beta^2 | -0.0011998 | -0.0037048
fn | 0.093179 | 0.040816
beta*fn | -0.0019386 | -0.00301
fn^2 | -0.033499 | -0.009658

## DesignPoint
T_evap_C | T_cond_C_design | freq_Hz | superheat_K | beta | P_suc_bar | P_dis_bar | rho_suc_kg_m3 | h1_kJ_kg | h_f_cond_kJ_kg | refrigerating_effect_kJ_kg | required_m_dot_for_50kW_kg_s | eta_v_pred | eta_is_pred | m_dot_pred_kg_s | W_pred_kW | T_dis_pred_C | cooling_capacity_pred_kW | COP_cooling_pred
-10 | 45 | 50 | 5 | 5.7822 | 2.006 | 11.5992 | 9.7985 | 396.9268 | 263.9429 | 132.9839 | 0.37599 | 0.66905 | 0.69573 | 0.37617 | 20.3262 | 71.4275 | 50.0244 | 2.4611